## Slide 1: 2012_10_12_labmeeting

## Slide 2: Cobalt
From left 10 cm~90 cm scan.
T0, A0
T2, A2

## Slide 3: T0-T2
VTD
CFD
10 cm
10 cm
90 cm
90 cm

## Slide 4: Position function
VTD
CFD

## Slide 5: Error bar
Now using parameter error of T0-T2
Other candidates are sigma and combination of sigma of T0, T2

## Slide 6: ADC (VTD)

## Slide 7: ADC (CFD)

## Slide 8: ADC (A0+A2)
VTD
CFD

## Slide 9: Time Walk Correction(VTD)
Exponential fit.

## Slide 10: Time Walk Correction(VTD)
1st order polynomial fit.

## Slide 11: Time Walk Correction(CFD)
Exponential fit.

## Slide 12: Time Walk Correction(CFD)
1st order polynomial fit.

## Slide 13: Resolution(VTD)
Before correction
After correction

## Slide 14: Resolution(CFD)
Before correction
After correction

## Slide 15: Compton edge(VTD)
Compton edge: 220
Threshold: 145->685 keV
Electron equivalent threshold: 342 keV
Compton edge of γ from 60Co: 1.04 MeV

## Slide 16: Compton edge(CFD)
Compton edge: 270
Threshold: 185->712 keV
Electron equivalent threshold: 356 keV
Compton edge of γ from 60Co: 1.04 MeV

## Slide 17: Californium
T0, A0
T2, A2
1 m

## Slide 18: (T0+T2)/2
VTD
CFD
γ
γ
n
n

## Slide 19: Neutron energy
VTD
CFD
19~42 ns
17~44 ns