## Slide 1: Gas jet target system for KOBRA
Andy Chae (kchae@skku.edu)
http://nucastro.skku.edu

## Slide 2: Needs in experimental nuclear astrophysics & structure
• excellent exotic beams
• durable, pure targets
• pioneering detection system
• detection of heavy recoils
• radiative capture
- (p,g), (a,g)
• transfer reactions
- (d,p), (3He,d)
132Sn(d,p)133Sn in inverse kinematics

## Slide 3: Beams
• beams
• targets
• detector systems
• recoil spectrometer
The RAON will push the frontiers of experimental nuclear physics further away from the stability!

## Slide 4: Detection system
• beams
• targets
• detector systems
• recoil spectrometer
High efficiency, high solid angle coverage for particle detection

## Slide 5: Heavy recoil separation
• beams
• targets
• detector systems
• recoil spectrometer

## Slide 6: What about targets?
• Foils:
may require backing materials,
suffer from inhomogeneities, and
be plagued with contaminants
• Gas cells:
require reasonably thick windows
• Extended (windowless) gas targets:
can’t be used to measure angular distributions

## Slide 7: Target constraints
• To play nicely with the new exotic beams and high-segmentation, large-solid-angle detector systems, a target is needed which is dense, highly localized, and pure
dense: ~1019 nuclei/cm2
localized: target size ~ beam spot size, and thin to prevent energy loss and straggling
pure: scattered contaminants contribute to background, which can’t be tolerated in low-statistics measurements
Jet
Experiments in
Nuclear
Structure and
Astrophysics

## Slide 8: Solution
By creating a jet of light gas (H or He) with the correct engineering,
a target that is dense, pure, homogeneous, and localized can be produced!

## Slide 9
Basic components
JET
PUMPING
COMPRESSOR
GAS CLEANING
RESERVOIR

## Slide 10: Nozzle block

## Slide 12: Differential Pumping System

## Slide 13
• 103 kW total power consumption
(pumps alone are about 70% of this consumption)
• 8.8 tons total weight + ~ 150 kg beamline-supported
• < 28 gpm (106 liters per minute) cooling water
• ~ 15 m2 total footprint
Important Totals

## Slide 14: Experimental Campaigns
• (3He,d) proton transfer reactions
- constraint of proton capture reaction too weak to measure directly
(proton scattering to locate resonances)
- important to novae and x-ray bursts: 25Al, 29P, 30P, 33Cl, 34Cl, 35Ar, 37Ar,
37K, 38K, 45V, etc.
• direct (a,p)
- 14O, 18Ne, 22Mg, 26Si, 30S in x-ray bursts
• (d,p) transfer reactions
- constrain (n,g)
- progress in reaction formalism
- can also constrain (p,g) with mirror arguments
• direct (p,g) and (a,g) reactions (with a recoil separator)

## Slide 15
Appendix

## Slide 16
Schematics

## Slide 17: Funds
· Uwe Greife
Custom compressor $220k
Gas chiller $40k
Pumps $250-300k
Machining of parts $100k
Extraneous vacuum components $50k
Infrastructure $150
Gas $60k
Total $940k
· Dan Bardayan: Early Career
· Jeff Blackmon:
· Hendrik Schatz: $400k for implementation of JENSA at ReA3

## Slide 18: What about targets?
• inverse kinematics
• low intensity exotic beams
• light targets for hydrogen- or helium-induced reactions
• reaction products can have low energies
• high efficiency, high-solid-angle coverage for particle detection
• recoil/g detection

## Slide 19: 132Sn(d,p)133Sn kinematics
• unfavorable kinematics → Reduced Q-value Resolution
• The technique is applicable to all isotopes which can be made into a beam
• In many cases, it’s impossible to use radioactive target!