## Slide 1: IB calibration status
All histograms
https://nuclear.korea.ac.kr/indico/conferenceDisplay.py?confId=199

## Slide 2: GOOD Calib.
Time vs ModID
Hit position vs ModID
(Time difference)
Hit timing vs ModID
(mean time

## Slide 3: BAD Calib.
Curved mean timing distribution
When those mis-calibration happen,
COE counting rate > 40kHz/spill
(usual case, 35kHz/spill
I found relation between counting rate and goodness of calibration from a few tens of run
Check all run