## Slide 1: Summary of CNU Activities on LAMPS project
Dong Ho Moon
(Chonnam National University)
2018/10/12 LAMPS Collaboration Meeting

## Slide 2: Status Report
Design
CsI Crystal
Old High LAMPS
New High LAMPS
Old Low LAMPS
CNU activities focus on CsI test and Neutron detector construction.

## Slide 3: Status Report
Experimental Setup
FADC 400MHz
2 PMTs (H-7195)
VME Modules
Source (137Cs, 60Co, 252Cf, 54Mn, 65Zn and 252Cf)

## Slide 4: Gamma Detection Test
필준 그림 넣기
Scale Number : 2400 ~ 660 keV
Hanseul Lee & Piljoon Gwak

## Slide 5: Gamma Detection Test
필준 그림 넣기
Scale Number : 2400 ~ 660 keV
Energy Resolution
Hanseul Lee & Piljoon Gwak

## Slide 6: Gamma Detection Test
필준 그림 넣기
# of Photopeak
# of Total Hits
Efficiency =
Hanseul Lee & Piljoon Gwak

## Slide 7: Gamma Detection Test
필준 그림 넣기
# of Photopeak
# of Total Hits
Efficiency =
Will measure again with 60Co
Hanseul Lee & Piljoon Gwak

## Slide 8: n-Gamma Separation
Pulse Shape Discrimination (PSD)
CPC 37 (2013) 010201
Variables
  Qslow/Qtotal = Qratio vs Qtotal
  Qslow vs Qtotal
Hanseul Lee

## Slide 9: n-Gamma Separation
Pulse Shape Discrimination (PSD) Variables
  Qslow/Qtotal = Qratio vs Qtotal
  Qslow vs Qtotal
Scale Number : 2400 ~ 660 keV
Qratio
Qslow
Qtotal
Qtotal
252Cf
252Cf
Hanseul Lee

## Slide 10: n-Gamma Separation
Pulse Shape Discrimination (PSD) Variables
  Qslow/Qtotal = Qratio vs Qtotal
  Qslow vs Qtotal
Scale Number : 2400 ~ 660 keV
Qratio
Qslow
Qtotal
Qtotal
Noise
Noise
n-gamma Separation in CsI would be not possible ?
Hanseul Lee

## Slide 11: Geant4 Simulation
Particle Gun Study
Follow up Soohyun’s thesis of master course
Gyeonghwan Bak

## Slide 12: Geant4 Simulation
Particle Gun Study
Gyeonghwan Bak

## Slide 13: Geant4 Simulation
Particle Gun Study
Figure Of Merit
Gyeonghwan Bak

## Slide 14: Geant4 Simulation
Particle Gun Study
Gyeonghwan Bak

## Slide 15: Geant4 Simulation
Particle Gun Study
Gyeonghwan Bak

## Slide 16: QMD Simulation
QMD Simulation with GSI Au-Au simulated data (?) given by JungWoo
Gyeonghwan Bak

## Slide 17: QMD Simulation
QMD Simulation with GSI Au-Au simulated data (?) given by JungWoo
Will try to measure again with Dr. Kyungil Kim’s new simulated data
Gyeonghwan Bak

## Slide 18: QMD Simulation
QMD Simulation given by Dr. Kyungil Kim
Blind test with 112Sn+112Sn 50 MeV/A 20000 events
  Soft
  Stiff
Input
Analyzed results
SungHak Lee

## Slide 19: Summary & Plan
CsI Detector test with various gamma sources was done
Energy resolution and efficiency studies for gamma were done
Efficiency study again with 60Co : plan to buy one more CsI crystal next year
Perform charged particles detection test with beta, alpha
Blind analysis for QMD model from Dr. Kyungil Kim’s simulated data with Low-LAMPS for two cases
  Measure n/p ratio and compare input and analyzed results
But need to change the plan to focus on the construction of new LAMPS (two students will be available from this winter : SungHak Lee (70%) and Piljoon Gwak (30%))