## Slide 1
Solenoid spectrometer
Neutron detector array
Solenoid magnet
Target
Start Counter
TPC
ToF
CoBo – uTCA2
Narval DAQ PC
1G switch
CoBo – uTCA1
CoBo – uTCA0
LAMPS Trigger Electronics 1
1G/10G switch
FADC0
nDAQ PC0
FADC1
nDAQ PC1
FADC2
nDAQ PC2
FADC3
nDAQ PC3
1G/10G switch
LAMPS Trigger Electronics 2
Control room
Control DAQ PC
signal
usb
UTP
10G optical
Storage server
Time stamp sync.
Start Counter & ToF DAQ system
Monitoring PC
Control
Slow control PC
Slow control
&
monitoring
system
TPC Data
Gate & trigger signal
Event builder

## Slide 2
TPC
MCH
SC
ToF
:
2.42G/sec
CoBo
AsAd
AsAd
AsAd
AsAd
CoBo
AsAd
AsAd
AsAd
AsAd
MCH
CoBo
AsAd
AsAd
AsAd
AsAd
CoBo
AsAd
AsAd
AsAd
AsAd
MCH
CoBo
AsAd
AsAd
AsAd
AsAd
CoBo
AsAd
AsAd
AsAd
AsAd
15FADC : 30usb
FADC
FADC
FADC
FADC
FADC
FADC
FADC
FADC
PC x 3
Experimental Hall
Sever room
ADC
10G UTP : 1.25GB/sec
10G Optical : 1.25GB/sec
100G : 12.5GB/sec
40G InfiniBand : 5GB/sec
ADC
ADC
TDC
TDC
TDC
VME
PC
usb
data size
2.72GB/sec
10G optical
10G UTP
Storage
10G L3 Switch
(Active-Active 가상화)
10G optical
CV
neutron
15FADC : 30usb
100M/sec
FADC
FADC
FADC
FADC
FADC
FADC
FADC
FADC
PC x 3
15FADC : 30usb
FADC
FADC
FADC
FADC
FADC
FADC
FADC
FADC
PC x 3
15FADC : 30usb
FADC
FADC
FADC
FADC
FADC
FADC
FADC
FADC
PC x 3
15FADC : 30usb
FADC
FADC
FADC
FADC
FADC
FADC
FADC
FADC
PC x 3
2 NIC bonding
data size
1.2GB/sec
10G L3 Switch
(Active-Active 가상화)
Management Server
확장
12 port
12 port
4port
4port
4port
4port
100G uplink
네트워크 구축

## Slide 3
MGMT
Server
MGMT
Switch
확장
확장
Server Room
Experimental Hall
10G(UTP)
10G(광)
10G(광)
100G
100G
S414F8-ON
10G(광) x48port 40G 2port
100G 4port
S4148T-ON
10G(UTP) x48port 40G 4port
100G 4port
MVLT: Multiple Virtual Link Trunking 의 약자로 network Loop 가 없는 환경을 제공해주는 Dell의 프로토콜 입니다, 업링크용의 100G 포트를 이용하여 총 800G 네트웍 패브릭으로 구성합니다
100G(광)
1
구성 설명
스토리지 네트웍의 요구 조건에 따라 고가용성 과 고대역폭을 위해 채널포트로 구성하여 Active-Active 또는 Active-Backup 구성을 합니다
2
Dell 스위치는 서비스 포트와 별도로 Management(이하 MGMT) 포트가 1개씩 있으며, 장비를 컨트롤하기 위한 용도의 포트입니다 Mgmt 포트를 연결하기 위한 10/100/1000Base-T 스위치입니다
3
S4148F-ON : user port 로 10G 광 48포트 가 있으며, uplink port로 40G 광 2포트, 100G 4포트가 있는 데이타센터 용도 스위치입니다
4
S4048-ON : user port 로 10G UTP 48포트 가 있으며, uplink port로 40G 광 2포트, 100G 4포트가 있는 데이타센터 용도 스위치입니다
5
기초과학연구원- 중이온 가속기 네트웍 구성도
Single mode
MVLT
MVLT
Cable MGT KIT(48port)
Z9100-ON
40G/100G 32port
Cable MGT KIT(48port)
100G
40G  4port 10G Break out
1G(광)
Sigle mode
MGMT
MGMT
1
2
3
MGMT
Switch
4
5
6
Cable management KIT 로 12 포트의 40G로 48포트의 10G로 브레이크 아웃이 가능한 1U 크기의 FDF입니다
6
7
Z9100은 40G 및 100G 포트가 32포트 지원되는 데이타센타의 Core급 스위치 입니다.
7

## Slide 4
TPC
MCH
SC
ToF
:
2.42G/sec
CoBo
AsAd
AsAd
AsAd
AsAd
CoBo
AsAd
AsAd
AsAd
AsAd
MCH
CoBo
AsAd
AsAd
AsAd
AsAd
CoBo
AsAd
AsAd
AsAd
AsAd
MCH
CoBo
AsAd
AsAd
AsAd
AsAd
CoBo
AsAd
AsAd
AsAd
AsAd
15FADC : 30usb
FADC
FADC
FADC
FADC
FADC
FADC
FADC
FADC
PC x 3
Experimental Hall
Sever room
ADC
10G UTP : 1.25GB/sec
10G Optical : 1.25GB/sec
100G : 12.5GB/sec
40G InfiniBand : 5GB/sec
ADC
ADC
TDC
TDC
TDC
VME
PC
usb
data size
2.72GB/sec
10G optical
10G UTP
Storage
10G L3 Switch
(Active-Active 가상화)
10G optical
CV
neutron
15FADC : 30usb
100M/sec
FADC
FADC
FADC
FADC
FADC
FADC
FADC
FADC
PC x 3
15FADC : 30usb
FADC
FADC
FADC
FADC
FADC
FADC
FADC
FADC
PC x 3
15FADC : 30usb
FADC
FADC
FADC
FADC
FADC
FADC
FADC
FADC
PC x 3
15FADC : 30usb
FADC
FADC
FADC
FADC
FADC
FADC
FADC
FADC
PC x 3
2 NIC bonding
data size
1.2GB/sec
10G L3 Switch
(Active-Active 가상화)
Management Server
확장
12 port
12 port
4port
4port
4port
4port
Nexus 9300
48p 10/25G SFP+
6p 100G QSFP28
Nexus 9300
48p 10/25G SFP+
6p 100G QSFP28
Nexus 9300
48p 10/25G SFP+
6p 100G QSFP28
Nexus 9300
48p 10/25G SFP+
6p 100G QSFP28
Nexus 9300
48p 10G BASE-T
6p 100G QSFP28
Nexus 9300
48p 10G BASE-T
6p 100G QSFP28

## Slide 5
Trigger in
Busy in
Ready out
Gate out
TCB in
Ready out
Gate out
LAMPS Trigger Electronics (LTE)
LTE control & monitoring program : c++ & perl/tk
Input : 10ch NIM/TTL + 10ch TCB (from FADC system) + Busy
Output : trigger ready + gate
125Mbps LVDS serial communication
Programmable trigger logic - Maximum 7 trigger logic - Multiplicity logic
Event (time) synchronized between two LTEs
Time synchronized with TCB of FADC DAQ
Save all trigger information ch : scaler : trigger # : trigger time : trigger pattern : gate flag

## Slide 6
FADC upgrade
- ontime readout / buffer full readout 선택
TCB upgrade
- trigger logic : programing – multiplicity, veto, coincidence, external mode
- time sync. From LTE
- UTP to LTE : time clock from LTE
trigger information to LTE – event #, trigger time, hit pattern (160ch – 20byte)
Run mode
1. self mode : trigger logic 을 설정 했을 때 trigger logic 에 맞으면 데이터 저장
2. external mode : LTE UTP port로 external mode가 들어오면 데이터 저장
LEMO connector 의 경우도 작동
LTE UTP 혹은 LEMO connector 선택 기능 추가
3. 내부 trigger logic을 사용하여 trigger logic 이 LTE로 넘어가서 LTE에서 로직 후 다시 external 신호로 다시 보내지면 external mode로 저장

## Slide 7
Control & monitoring system
PNC60000-3 : 60000VDC, 3mA
PNC3500-20 : 3500VDC, 20mA
RS232 interface
12bit for voltage and current monitoring
Control program : c++ & perl/사
Used for FC and GEM of prototype TPC for GEM test
LAMPS TPC will use HV system for FC & cathode
HV system
Temperature monitoring system for AsAd and TPC
Temperature sensor : DS1820
Raspberry pi
LAMPS TPC will use for front-end electronics and TPC chamber.
LV system for AsAd
WIENER MPOD EC LV 10slots, 3kW
MPV8008I 8V/10A, 8ch, 50W/ch
MUSE control (network)
Control program : c++ & perl/tk
Ready for 120ch

## Slide 9
Estimation of data size
GET system
total # of channel = 2710ch x 8section = 21680ch -> 11AsAd 필요
1event with 4AsAd = 1.1M
LAMPS TPC = 11AsAd x 8section = 88AsAd
-> 24.2M/1event
full daq mode (100Hz)
24.2M/1event * 100events/1sec = 2.42G/1sec
24.2M/1event * 100events/1sec * 60m*60s = 8.712T/1hour
24.2M/1event * 100events/1sec * 24h*60m*60s = 209.088T/1day
Neutron detector
1FADC = 2USB = 2 x 4ch = 8ch
total # of channel = 80ch*4(ndet : 320ch) + 40ch*4 (CV : 160ch) = 480ch
data size : 512 time bin의 경우 0.5k/1ch/1event
-> total = 480ch x 0.5k/1ch/1event = 240k/1event
USB3 read 속도 = 100Mbyte/sec
data size = 512ns time range = 512byte/ch
count rate = USB3 read 속도 / data size / ch = (100Mbyte/sec) / (512byte/ch) / (120ch / 1PC) = 1.7k/sec = 1.7kHz - 1PC/1crate
count rate = USB3 read 속도 / data size / ch = (100Mbyte/sec) / (512byte/ch) / (80ch / 1PC) = 2.5k/sec = 2.5kHz - 2PC/1crate
count rate = USB3 read 속도 / data size / ch = (100Mbyte/sec) / (512byte/ch) / (40ch / 1PC) = 2.5k/sec = 5kHz - 3PC/1crate
(USB3 속도는 USB HUB가 switching 하는 시간을 고려하면 약 50%~70% 정도로 작아 짐.)
5kHz의 경우 : 240k/1event * 5k event/sec = 1.2GB/sec = 4layer x 3pc x 100MB/sec/layer/pc
5kHz의 경우 : 240k/1event * 5k event/sec * 60m * 60s = 4.32T/1hour = 4layer x 3 x 0.36T/1hour/layer/pc
5kHz의 경우 : 240k/1event * 5k event/sec * 24h * 60m * 60s = 103.68T/1day = 4layer x 3 x 8.64T/1day/layer/pc
samurai case : RIKEN Accel. Prog. Rep. 48
“Fast clear technique for NEBULA data acquisition for SAMURAI17 experiment”
132Sn(p,n) experiment
2.5kHz for main trigger : 1.6kHz for Beam x NEBULA trigger

## Slide 10
GET system |  |  |  | 
total # of ch | 22528 |  |  | 
trigger rate | 100 | Hz |  | 
data size / ch | 0.001074 | MB |  | track
full data mode |  |  | Partial mode | 100
total # of ch | 22528 |  | 11400 | 
data size / 1event | 24.2 | MB | 12.246 | MB
data size / 1sec | 2.42 | GB | 1.225 | GB
data size / 1hour | 8.712 | TB | 4.409 | TB
data size / 1day | 209.088 | TB | 105.806 | TB
중성자 |  |  |  | 
total # of ch | 480 |  |  | 
trigger rate | 5000 | Hz |  | 
data size / ch | 0.0005 | MB |  | track
full data mode |  |  | Partial mode | 1
total # of ch | 480 |  | 88 | 
data size / 1event | 0.24 | MB | 0.044 | MB
data size / 1sec | 1.2 | GB | 0.220 | GB
data size / 1hour | 4.32 | TB | 0.792 | TB
data size / 1day | 103.68 | TB | 19.008 | TB
other detector | 25.92 | TB | 4.752 | TB
total / 1day | 338.688 | TB | 129.56625 | TB
/ 1month | 10.16064 | PB | 3.8869875 | PB
 | full data mode |  | Partial mode |